## Info
This Data set was Produced in the KOSMOS Peru 2017 Mesocosm study by Elisabeth von der Esch
Please report any errors directly to me (elisabeth-v.d.esch@outlook.de) so that I can correct them and redistribute the corrected file
Please also notify me if you use my data and name me as co author: Elisabeth von der Esch, GEOMAR Helmholtz Centre for Ocean Research Kiel
Citation Info:
The measurements were produced on a five channel QUAATRO autoanalyzer (Seal Analytical)
Refractive index blank correction:
S. Coverly, R. Kérouel, and A. Aminot, A re-examination of matrix effects in the segmented-flow analysis of nutrients in sea and estuarine water, Analytica Chimica Acta, vol. 712, pp94-100, 2012
Ammonium:
Seal method No. Q-080-06 Rev. 4
R. Kérouel and A. Aminot, Fluorometric determination of ammonia in sea and estuarine waters by direct segmented
ow analysis," Marine Chemistry, vol. 57, no. 3, pp. 265 -- 275, 1997.
Nitrate and Nitrite:
Seal method No. Q-070-05 Rev. 6 Nitrite
Seal method No. Q-068-05 Rev. 11. Nitrite + Nitrate Channel
A. Morris and J. Riley, The determination of nitrate in sea water, Analytica Chimica Acta, vol. 29, pp. 272 -- 279, 1963.
Phosphate:
Seal method No. Q-064-05 Rev. 8
J. Murphy and J. Riley, A modied single solution method for the determination of phosphate in natural waters, Analytica Chimica Acta, vol. 27, pp. 31 - 36, 1962.
Silicate:
Seal method No. Q-066-05 Rev. 5
J. Mullin and J. Riley, The colorimetric determination of silicate with special reference to sea and natural waters," Analytica Chimica Acta, vol. 12, pp. 162 - 176, 1955

## Silicate
Day | M1 s | M2 s | M3 s | M4 s | M5 s | M6 s | M7 s | M8 s | M1 b | M2 b | M3 b | M4 b | M5 b | M6 b | M7 b | M8 b
1 | 2.1293 | 3.9514 | 1.9259 | 1.8726 | 2.6507 | 3.0537 | 4.3267 | 2.9829 | 10.394 | 12.54 | 9.7198 | 7.889 | 11.3866 | 12.2162 | 12.8553 | 12.3968 | [µmol/L]
2 | 1.4529 | 1.5512 | 3.8305 | 1.4463 | 1.4079 | 1.5977 | 2.0008 | 1.8901 | 9.8392 | 12.0673 | 9.4971 | 7.7298 | 10.937 | 11.6812 | 12.7215 | 11.9004 | [µmol/L]
3 | 4.0344 | 4.1054 | 4.1728 | 3.1597 | 4.149 | 4.0127 | 4.4772 | 4.4324 | 11.1332 | 12.9229 | 10.5556 | 9.119 | 12.0546 | 12.6016 | 12.8314 | 12.8518 | [µmol/L]
4 | 3.5426 | 2.0335 | 3.7106 | 3.617 | 3.3526 | 2.6566 | 2.2268 | 2.6973 | 9.9589 | 11.7163 | 9.4905 | 8.4058 | 11.2055 | 10.9871 | 11.7424 | 12.0541 | [µmol/L]
6 | 1.9973 | 2.0303 | 2.4565 | 2.6111 | 1.9825 | 2.1497 | 1.7785 | 1.8044 | 9.2767 | 8.966 | 8.8139 | 7.946 | 9.4968 | 9.2219 | 8.3834 | 9.3499 | [µmol/L]
8 | 2.21 | 2.2527 | 2.3535 | 2.0022 | 2.4344 | 3.1141 | 2.3821 | 2.4908 | 7.8239 | 7.2626 | 7.2394 | 6.6567 | 7.4282 | 7.9034 | 6.8898 | 7.7639 | [µmol/L]
10 | 2.9514 | 2.7551 | 3.1366 | 2.3048 | 3.2723 | 3.4403 | 2.932 | 2.9824 | 7.1408 | 7.2899 | 7.1637 | 6.5063 | 7.7875 | 8.5565 | 7.5556 | 7.4245 | [µmol/L]
12 | 5.5458 | 5.3873 | 5.0148 | 4.4199 | 4.8812 | 5.0343 | 4.1529 | 4.9371 | 10.3841 | 10.9979 | 10.8356 | 9.117 | 10.6324 | 11.5556 | 11.2141 | 10.3622 | [µmol/L]
13 | 8.9075 | 8.9035 | 9.166 | 8.2237 | 7.4465 | 7.5937 | 5.9656 | 7.1357 | 9.8902 | 10.3277 | 10.0859 | 9.0415 | 9.6712 | 10.2291 | 9.6088 | 9.3405 | [µmol/L]
14 | 8.2914 | 7.1068 | 7.7532 | 7.9481 | 5.7139 | 5.5344 | 3.6938 | 5.4465 | 9.6519 | 10.0995 | 9.6193 | 8.9957 | 9.3965 | 9.7182 | 9.1508 | 9.1468 | [µmol/L]
15 | 7.5992 | 5.9756 | 7.0357 | 7.8268 | 5.0623 | 4.8018 | 3.1251 | 4.843 | 9.7243 | 10.0511 | 10.0102 | 9.0454 | 9.2655 | 9.9066 | 9.1061 | 9.0566 | [µmol/L]
16 | 7.7537 | 6.0154 | 6.8282 | 7.6147 | 5.1087 | 4.9047 | 3.4603 | 4.7562 | 9.4342 | 9.6001 | 9.6237 | 8.7839 | 8.6943 | 9.166 | 9.0311 | 8.8859 | [µmol/L]
17 | 7.653 | 5.9088 | 6.3551 | 7.6492 | 5.2991 | 4.99 | 3.5588 | 4.6323 | 9.3528 | 9.6788 | 9.6472 | 8.8157 | 8.8816 | 11.2049 | 8.2483 | 8.4715 | [µmol/L]
18 | 7.2637 | 4.9503 | 5.7341 | 7.1732 | 5.0645 | 4.5762 | 3.5347 | 4.3496 | 9.3247 | 9.5166 | 9.6298 | 8.6609 | 8.8101 | 9.3305 | 8.6916 | 8.624 | [µmol/L]
20 | 7.5209 | 5.8115 | 5.5813 | 7.439 | 5.4411 | 7.0634 | 4.0837 | 4.6115 | 9.4575 | 9.7222 | 9.6255 | 8.8559 | 8.8341 | 9.4674 | 8.8324 | 10.5022 | [µmol/L]
22 | 7.7764 | 6.2458 | 5.1222 | 7.3819 | 5.6661 | 5.1275 | 4.4796 | 4.885 | 9.1817 | 9.7042 | 9.4475 | 8.7095 | 8.5095 | 8.994 | 8.2816 | 8.0874 | [µmol/L]
24 | 7.6583 | 6.178 | 4.2907 | 6.9008 | 5.8959 | 5.3354 | 4.8368 | 5.0692 | 9.4355 | 9.6097 | 9.5918 | 8.9063 | 8.825 | 9.487 | 8.6607 | 8.2056 | [µmol/L]
26 | 8.3714 | 6.5572 | 4.4042 | 6.5241 | 6.1558 | 5.7737 | 5.193 | 5.364 | 9.7734 | 9.7528 | 9.5613 | 8.9456 | 9.0422 | 9.0582 | 9.0423 | 8.5165 | [µmol/L]
28 | 8.0438 | 6.355 | 3.8292 | 5.7179 | 5.7303 | 6.1662 | 4.9953 | 5.2264 | 9.1994 | 9.3549 | 8.3854 | 8.4398 | 8.4832 | 9.0121 | 8.293 | 8.1011 | [µmol/L]
30 | 7.395 | 6.8768 | 4.5604 | 6.0963 | 6.1832 | 6.2913 | 5.5125 | 5.726 | 9.5521 | 10.0497 | 9.2377 | 8.8242 | 9.0546 | 9.0275 | 9.3984 | 8.6049 | [µmol/L]
32 | 6.45 | 6.1107 | 4.4164 | 5.4273 | 5.7782 | 5.8095 | 5.0021 | 5.1764 | 8.3741 | 8.1391 | 7.4329 | 7.1331 | 7.4112 | 8.0221 | 7.7415 | 7.0704 | [µmol/L]
34 | 7.1947 | 6.6152 | 5.0572 | 5.3774 | 6.6822 | 6.2635 | 5.4768 | 5.9857 | 9.2617 | 9.5588 | 8.762 | 8.4086 | 8.8271 | 9.4314 | 8.7948 | 8.335 | [µmol/L]
36 | 7.5663 | 6.8933 | 5.3523 | 4.5485 | 6.6986 | 6.7349 | 5.2489 | 6.0413 | 9.4699 | 9.5981 | 8.492 | 8.1055 | 8.8099 | 9.5557 | 8.8006 | 8.3459 | [µmol/L]
38 | 6.3933 | 6.5814 | 5.0119 | 3.1583 | 6.3364 | 6.4324 | 5.1284 | 5.2359 | 8.3031 | 8.6673 | 8.816 | 6.9296 | 8.0825 | 8.5157 | 7.8297 | 7.4905 | [µmol/L]
40 | 5.7626 | 6.3272 | 4.2369 | 2.6058 | 6.0963 | 6.3555 | 4.9061 | 4.4644 | 8.2376 | 8.974 | 7.337 | 7.0266 | 8.0442 | 8.4942 | 7.8859 | 7.5732 | [µmol/L]
42 | 3.9066 | 5.1625 | 3.4295 | 2.096 | 5.6674 | 5.8365 | 4.5745 | 3.2893 | 8.0411 | 8.2621 | 7.151 | 6.6365 | 7.8238 | 8.2155 | 7.573 | 7.271 | [µmol/L]
44 | 2.6137 | 4.2665 | 2.8565 | 1.7043 | 4.9944 | 5.1303 | 4.3147 | 3.0923 | 7.202 | 7.9033 | 6.4284 | 5.8757 | 7.3312 | 7.6339 | 7.0783 | 6.7251 | [µmol/L]
46 | 2.7817 | 4.6013 | 3.397 | 1.9806 | 4.7936 | 4.9275 | 4.2408 | 3.6633 | 7.2562 | 7.6493 | 6.7648 | 5.8927 | 7.6119 | 7.7742 | 7.3317 | 6.6413 | [µmol/L]
48 | 2.3985 | 4.1041 | 2.5016 | 1.4957 | 3.9192 | 3.882 | 3.6588 | 3.6441 | 6.3311 | 7.2554 | 5.5477 | 5.1837 | 6.9881 | 7.2261 | 6.7338 | 6.4746 | [µmol/L]
50 | 2.8075 | 3.7291 | 2.6894 | 1.6678 | 3.3772 | 3.461 | 3.5025 | 3.844 | 5.8444 | 6.6448 | 5.3046 | 4.6877 | 6.4777 | 6.6385 | 6.2316 | 6.1471 | [µmol/L]
0.36568 | M1 s: 1.152; M3 s: Mean STD
LOD | M1 s: LOQ; M3 s: Si
Si | M1 s: Si; M3 s: 0.015631

## Nitrite
Day | M1 s | M2 s | M3 s | M4 s | M5 s | M6 s | M7 s | M8 s | M1 b | M2 b | M3 b | M4 b | M5 b | M6 b | M7 b | M8 b
1 | 0.14411 | 0.44612 | 0.15002 | 0.13903 | 0.18171 | 0.32665 | 0.56863 | 0.33633 | 0.72257 | 1.536 | 0.70194 | 0.69754 | 0.90632 | 1.3463 | 2.2541 | 1.7464 | [µmol/L]
2 | 0.05532 | 0.084085 | 0.026714 | 0.023327 | 0.018008 | 0.094942 | 0.14636 | 0.069145 | 0.78635 | 1.6413 | 0.65924 | 0.49375 | 0.89197 | 1.6595 | 2.3898 | 1.7378 | [µmol/L]
3 | 0.21979 | 0.42997 | 0.21871 | 0.17369 | 0.24635 | 0.3501 | 0.57556 | 0.38952 | 0.92179 | 2.2433 | 0.74651 | 0.56242 | 1.1798 | 2.1922 | 2.8695 | 2.0109 | [µmol/L]
4 | 0.18684 | 0.23648 | 0.19784 | 0.11746 | 0.19793 | 0.29676 | 0.35035 | 0.25348 | 0.56493 | 1.4725 | 0.57579 | 0.57051 | 0.79378 | 1.7291 | 2.1601 | 1.4392 | [µmol/L]
6 | 0.15674 | 0.20287 | 0.20437 | 0.21494 | 0.15848 | 0.24935 | 0.25928 | 0.16535 | 0.47239 | 0.44007 | 0.71306 | 0.66203 | 0.40215 | 0.65344 | 0.62304 | 0.47394 | [µmol/L]
8 | 0.14865 | 0.15598 | 0.20436 | 0.21292 | 0.16259 | 0.19138 | 0.18354 | 0.12427 | 0.3471 | 0.29463 | 0.52784 | 0.57956 | 0.31887 | 0.37852 | 0.32686 | 0.26999 | [µmol/L]
10 | 0.16023 | 0.13092 | 0.27365 | 0.22587 | 0.17984 | 0.19901 | 0.17565 | 0.13645 | 0.34453 | 0.27193 | 0.59759 | 0.62598 | 0.39251 | 0.38645 | 0.26648 | 0.27172 | [µmol/L]
12 | 0.14403 | 0.41698 | 0.5965 | 0.25551 | 0.25127 | 0.49591 | 0.40804 | 0.17009 | 0.23799 | 1.0039 | 1.2998 | 0.35964 | 0.28499 | 1.1248 | 1.0052 | 0.23824 | [µmol/L]
13 | 0.11682 | 0.95198 | 1.1826 | 0.16032 | 0.18765 | 0.96919 | 0.89903 | 0.099673 | 0.18744 | 0.92352 | 1.1794 | 0.30202 | 0.23818 | 1.0089 | 0.90504 | 0.16534 | [µmol/L]
14 | 0.13163 | 0.56758 | 1.0341 | 0.11663 | 0.10712 | 0.55617 | 0.35214 | 0.077036 | 0.19279 | 0.82155 | 1.1125 | 0.29987 | 0.2505 | 0.90298 | 0.76026 | 0.1556 | [µmol/L]
15 | 0.070791 | 0.30089 | 0.79432 | 0.10032 | 0.084041 | 0.35083 | 0.087917 | 0.05145 | 0.20315 | 0.77269 | 1.078 | 0.2867 | 0.25785 | 0.87842 | 0.67552 | 0.16903 | [µmol/L]
16 | 0.055335 | 0.062234 | 0.34778 | 0.064516 | 0.071041 | 0.15412 | 0.079741 | 0.062461 | 0.10149 | 0.48159 | 0.31748 | 0.19392 | 0.20335 | 0.40623 | 0.33352 | 0.15601 | [µmol/L]
17 | 0.063281 | 0.071338 | 0.44412 | 0.09984 | 0.075297 | 0.16134 | 0.066479 | 0.05755 | 0.15183 | 0.40432 | 0.71098 | 0.21029 | 0.18176 | 0.53073 | 0.23537 | 0.12062 | [µmol/L]
18 | 0.040385 | 0.044007 | 0.16676 | 0.048043 | 0.047666 | 0.061435 | 0.053261 | 0.043504 | 0.074072 | 0.20551 | 0.26896 | 0.13113 | 0.11222 | 0.35184 | 0.11285 | 0.064943 | [µmol/L]
20 | 0.049222 | 0.056326 | 0.23367 | 0.069638 | 0.062297 | 0.15152 | 0.047788 | 0.045607 | 0.088397 | 0.12083 | 0.53354 | 0.16386 | 0.077117 | 0.22224 | 0.063107 | 0.22754 | [µmol/L]
22 | 0.037685 | 0.040098 | 0.2498 | 0.074798 | 0.038165 | 0.036169 | 0.037533 | 0.044216 | 0.10112 | 0.080886 | 1.9352 | 0.41469 | 0.055231 | 0.18309 | 0.031192 | 0.049711 | [µmol/L]
24 | 0.059183 | 0.044781 | 0.079576 | 0.11817 | 0.032422 | 0.045144 | 0.04616 | 0.045007 | 0.059321 | 0.052627 | 1.2352 | 0.70444 | 0.052928 | 0.049732 | 0.069661 | 0.053567 | [µmol/L]
26 | 0 | 0 | 0 | 0.00071918 | 0 | 0 | 0 | 0 | 0 | 0 | 0.061846 | 0.20176 | 0 | 0 | 0 | 0 | [µmol/L]
28 | 0.017839 | 0.0029569 | 0.0035822 | 0.051232 | 0.0038573 | 0.0095227 | 0.0056833 | 0 | 0 | 0.0063836 | 0.0092976 | 0.19352 | 0 | 0.0034071 | 0 | 0.019303 | [µmol/L]
30 | 0.0094706 | 0.011524 | 0.0083411 | 0.019572 | 0 | 0 | 0.00067844 | 0 | 0.00063993 | 0.00093514 | 0.0042338 | 0.058155 | 0.0049526 | 0.0070063 | 0 | 0 | [µmol/L]
32 | 0 | 0 | 0 | 0.0096638 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.011506 | 0 | 0 | 0 | 0 | [µmol/L]
34 | 0.013784 | 0.0073463 | 0.0062538 | 0.013407 | 0.013862 | 0.0059157 | 0.0027943 | 0.0064099 | 0.028285 | 0.0061758 | 0.01446 | 0.012002 | 0.014096 | 0.0080096 | 0 | 0.011144 | [µmol/L]
36 | 0.013893 | 0.02672 | 0.021539 | 0.049747 | 0.020307 | 0.016932 | 0.025375 | 0.029609 | 0.026907 | 0.020194 | 0.022785 | 0.030083 | 0.022449 | 0.023955 | 0.016695 | 0.018825 | [µmol/L]
38 | 0.037543 | 0.03016 | 0.033968 | 0.03505 | 0.029023 | 0.034488 | 0.036584 | 0.032297 | 0.029173 | 0.038187 | 0.20395 | 0.038844 | 0.034995 | 0.030214 | 0.024132 | 0.039721 | [µmol/L]
40 | 0.029693 | 0.024291 | 0.018423 | 0.031572 | 0.022591 | 0.026869 | 0.030681 | 0.0234 | 0.035411 | 0.02665 | 0.023414 | 0.028075 | 0.026869 | 0.022865 | 0.019479 | 0.028912 | [µmol/L]
42 | 0.026847 | 0.026121 | 0.02262 | 0.032042 | 0.034633 | 0.023901 | 0.02457 | 0.042404 | 0.034092 | 0.023431 | 0.030277 | 0.033864 | 0.025794 | 0.024527 | 0.029395 | 0.028996 | [µmol/L]
44 | 0.033098 | 0.044525 | 0.036923 | 0.081942 | 0.043208 | 0.036936 | 0.044525 | 0.04031 | 0.036836 | 0.043019 | 0.043032 | 0.049743 | 0.044048 | 0.042405 | 0.033173 | 0.045465 | [µmol/L]
46 | 0.03672 | 0.040839 | 0.046772 | 0.046966 | 0.03992 | 0.045399 | 0.049777 | 0.040658 | 0.054517 | 0.047717 | 0.050334 | 0.050774 | 0.041914 | 0.037109 | 0.0279 | 0.042135 | [µmol/L]
48 | 0.047044 | 0.054556 | 0.055365 | 0.066912 | 0.058426 | 0.048056 | 0.049434 | 0.058666 | 0.052507 | 0.05529 | 0.053519 | 0.055555 | 0.057718 | 0.047233 | 0.031627 | 0.055593 | [µmol/L]
50 | 0.064108 | 0.056613 | 0.055428 | 0.069483 | 0.056183 | 0.06472 | 0.064928 | 0.062 | 0.079425 | 0.061792 | 0.068936 | 0.062638 | 0.065318 | 0.063236 | 0.043482 | 0.057146 | [µmol/L]
0.054133 | M1 s: 0.17605; M3 s: Mean STD
LOD | M1 s: LOQ; M3 s: NO2
NO2 | M1 s: NO2; M3 s: 0.014065

## Nitrate
Day | M1 s | M2 s | M3 s | M4 s | M5 s | M6 s | M7 s | M8 s | M1 b | M2 b | M3 b | M4 b | M5 b | M6 b | M7 b | M8 b
1 | 0 | 1.3207 | 0.163 | 0 | 0.029816 | 0.62725 | 2.0626 | 0.77462 | 8.9179 | 7.6926 | 8.935 | 7.1855 | 8.221 | 8.1191 | 7.3975 | 7.5446 | [µmol/L]
2 | 0.046476 | 0.15778 | 0.15255 | 0 | 0 | 0.2475 | 0.2632 | 0.12695 | 8.9221 | 6.9945 | 9.6243 | 7.8979 | 8.3088 | 7.2609 | 7.0793 | 7.0949 | [µmol/L]
3 | 3.2572 | 3.4702 | 2.9224 | 2.2042 | 2.6796 | 2.4968 | 2.38 | 2.5525 | 10.0332 | 6.1943 | 11.0636 | 9.959 | 8.8698 | 6.7626 | 5.7363 | 6.8538 | [µmol/L]
4 | 2.4925 | 0.5559 | 2.4222 | 2.0664 | 1.8418 | 1.2793 | 0.5858 | 1.1407 | 8.8261 | 6.0944 | 9.5604 | 8.7791 | 8.2303 | 6.0021 | 5.7889 | 6.4734 | [µmol/L]
6 | 1.6152 | 1.1171 | 2.3962 | 2.3003 | 1.502 | 1.2351 | 1.0398 | 1.0958 | 9.4334 | 6.2906 | 10.1271 | 9.007 | 8.4017 | 6.6792 | 6.2493 | 6.6739 | [µmol/L]
8 | 2.1357 | 1.307 | 2.6043 | 2.0978 | 1.8795 | 1.6937 | 1.3885 | 1.5936 | 8.2161 | 5.1744 | 8.602 | 7.3347 | 6.7071 | 5.5047 | 4.9174 | 5.6007 | [µmol/L]
10 | 2.2304 | 1.262 | 2.946 | 1.9638 | 2.2737 | 1.7575 | 1.5036 | 1.5684 | 6.8535 | 4.3849 | 7.9187 | 6.7157 | 6.2647 | 5.0652 | 4.3456 | 4.6983 | [µmol/L]
12 | 2.864 | 1.9815 | 4.1791 | 2.4676 | 2.9471 | 2.2743 | 1.7382 | 1.8927 | 3.9906 | 4.0623 | 6.2519 | 3.5276 | 3.3892 | 4.3609 | 3.9655 | 2.6434 | [µmol/L]
13 | 1.3382 | 2.0996 | 3.5725 | 1.1767 | 1.1375 | 2.2365 | 1.8513 | 0.40899 | 3.0046 | 3.4693 | 5.4042 | 2.7784 | 2.6301 | 3.6723 | 3.1605 | 1.8728 | [µmol/L]
14 | 0.90718 | 1.1484 | 3.0398 | 0.79837 | 0.30174 | 1.1497 | 0.36034 | 0.10626 | 2.7916 | 3.3966 | 5.2815 | 2.678 | 2.4461 | 3.5146 | 2.86 | 1.7643 | [µmol/L]
15 | 0.33293 | 0.27683 | 2.3327 | 0.62754 | 0.02391 | 0.49356 | 0 | 0 | 2.9652 | 3.442 | 5.5198 | 2.7065 | 2.4645 | 3.6154 | 2.7505 | 1.6964 | [µmol/L]
16 | 0 | 0 | 1.5069 | 0 | 0 | 0 | 0 | 0 | 1.8439 | 2.5296 | 3.8665 | 2.2826 | 1.4752 | 2.2127 | 1.3763 | 0.95507 | [µmol/L]
17 | 0.035592 | 0.026255 | 1.47 | 0.38947 | 0.16661 | 0.23152 | 0.093715 | 0.048514 | 1.8305 | 2.2716 | 4.8158 | 2.2608 | 1.521 | 3.5345 | 1.1594 | 0.98042 | [µmol/L]
18 | 0 | 0 | 0.52487 | 0.062032 | 0.00043436 | 0.018295 | 0 | 0 | 1.0444 | 1.1211 | 3.405 | 0.95889 | 0.56505 | 2.3331 | 0.4915 | 0.15871 | [µmol/L]
20 | 0 | 0 | 1.3236 | 0.20731 | 0.136 | 0.75012 | 0 | 0 | 0.39465 | 0.51324 | 4.5432 | 2.4433 | 0.087459 | 1.6318 | 0.072675 | 0.79802 | [µmol/L]
22 | 0 | 0 | 0.99676 | 0.17738 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3338 | 2.1212 | 0 | 0.8697 | 0 | 0 | [µmol/L]
24 | -0.03182 | -0.024061 | 0.078302 | 0.45143 | -0.24126 | -0.025812 | -0.038328 | -0.025675 | 0.01543 | -0.032403 | 0.75213 | 0.87736 | -0.012926 | -0.02574 | -0.028271 | -0.049552 | [µmol/L]
26 | 0.12523 | 0.064082 | 0.068662 | 0.22855 | 0.05857 | 0.065944 | 0.054531 | 0.060132 | 0.031089 | 0.067752 | 0.087389 | 0.59614 | 0.056855 | 0.067935 | 0.066878 | 0.073163 | [µmol/L]
28 | 0.12652 | 0.03555 | 0.049054 | 0.15911 | 0.14325 | 0.061037 | 0.03415 | 0.011113 | 0.053763 | 0.036513 | 0.047728 | 0.32034 | 0.043253 | 0.030161 | 0.01356 | 0.068221 | [µmol/L]
30 | 0.15683 | 0.056861 | 0.04299 | 0.029349 | 0.053991 | 0.066363 | 0.0723 | 0.034981 | 0.12246 | 0.077228 | 0.033181 | 0.24917 | 0.057475 | 0.032819 | 0.0343 | 0.037847 | [µmol/L]
32 | -0.15331 | -0.016094 | 0.029753 | 0.079697 | 0.010125 | 0.0080984 | 0.045662 | 0.016889 | -0.086955 | -0.031741 | 0.081972 | 0.087264 | 0.0096626 | -0.0064149 | 0.0023625 | -0.0034617 | [µmol/L]
34 | 0.15286 | 0.046942 | 0.051398 | 0.039339 | 0.15082 | 0.042345 | 0.029442 | 0.028676 | 0.24194 | 0.047224 | 0.05048 | 0.030466 | 0.049676 | 0.026282 | -0.0018878 | 0.013804 | [µmol/L]
36 | 0.014411 | 0.04596 | -0.019066 | 0.18331 | -0.00047058 | 0.0089599 | -0.0095605 | -0.013984 | 0.020037 | -0.0075968 | -0.025042 | 0.14885 | -0.0092831 | -0.028436 | -0.0017318 | -0.021176 | [µmol/L]
38 | 0.0024551 | 0.0023765 | -0.040503 | 0.025063 | -0.024527 | -0.017247 | -0.014105 | -0.010142 | 0.040951 | 0.011544 | 0.44663 | 0.02734 | -0.01678 | -0.020667 | -0.028211 | -0.02628 | [µmol/L]
40 | 0.099879 | 0.053078 | 0.017733 | 0.058138 | -0.0014294 | 0.0045844 | -0.015759 | -0.005731 | 0.098026 | 0.0074581 | -0.0060241 | 0.016184 | -0.009712 | -0.0016105 | 0.0074107 | -0.01115 | [µmol/L]
42 | -0.090949 | -0.0034571 | -0.0097837 | 0.046875 | -0.02086 | -0.0059635 | -0.012342 | -0.031486 | 0.12827 | 0.02633 | 0.13218 | 0.017114 | -0.014362 | -0.015014 | -0.042439 | -0.013914 | [µmol/L]
44 | -0.14776 | -0.039105 | -0.070635 | 0.084844 | -0.07643 | -0.074022 | 0.06963 | -0.10738 | -0.024519 | -0.032904 | -0.039765 | -0.027057 | -0.034813 | 0.040348 | -0.049569 | -0.051883 | [µmol/L]
46 | -0.15419 | -0.015203 | -0.024732 | -0.0053239 | -0.058119 | -0.060721 | -0.038977 | -0.052294 | 0.086127 | 0.0005789 | -0.039129 | -0.05661 | -0.049998 | -0.060974 | -0.06269 | -0.06519 | [µmol/L]
48 | -0.050025 | 0.034343 | 0.082842 | 0.11888 | 0.019441 | 0.028043 | 0.036938 | 0.028927 | 0.051088 | 0.018619 | 0.081699 | 0.011532 | 0.019517 | 0.026464 | 0.0041311 | 0.057013 | [µmol/L]
50 | -0.035727 | 0.082818 | 0.035935 | 0.099311 | 0.056596 | 0.013178 | 0.061831 | 0.052228 | 0.12346 | 0.023026 | 0.029301 | 0.06487 | 0.088794 | 0.017654 | 0.0094938 | 0.036789 | [µmol/L]
0.12306 | M1 s: 0.4041; M3 s: Negative values are measurement erros as the concentration is far below LOD also; M2 b: Mean STD
LOD | M1 s: LOQ; M3 s: STD mostly larger than negative Value.; M2 b: NO3
NO3 | M1 s: NO3; M2 b: 0.032776

## Phosphate
Day | M1 s | M2 s | M3 s | M4 s | M5 s | M6 s | M7 s | M8 s | M1 b | M2 b | M3 b | M4 b | M5 b | M6 b | M7 b | M8 b
1 | 0.70424 | 0.97657 | 0.75202 | 0.65734 | 0.82321 | 0.89857 | 1.0313 | 0.81293 | 1.9872 | 2.2958 | 1.9242 | 1.6976 | 2.1383 | 2.248 | 2.3596 | 2.3298 | [µmol/L]
2 | 0.69637 | 0.8935 | 0.7964 | 0.68822 | 0.82185 | 0.8933 | 0.90817 | 0.83688 | 2.0419 | 2.2215 | 2.0318 | 1.7825 | 2.1512 | 2.2241 | 2.3313 | 2.2568 | [µmol/L]
3 | 1.2228 | 1.4133 | 1.196 | 1.096 | 1.2896 | 1.3089 | 1.3018 | 1.3259 | 2.2498 | 2.4195 | 2.1949 | 2.0595 | 2.3361 | 2.3779 | 2.3877 | 2.3653 | [µmol/L]
4 | 1.2697 | 1.1706 | 1.2668 | 1.2009 | 1.2836 | 1.2254 | 1.1506 | 1.2092 | 2.1966 | 2.3852 | 2.1386 | 2.0487 | 2.3544 | 2.3298 | 2.4017 | 2.3692 | [µmol/L]
6 | 1.0855 | 1.2401 | 1.21 | 1.2719 | 1.1797 | 1.227 | 1.1854 | 1.1849 | 2.079 | 2.1496 | 2.0902 | 2.0348 | 2.1344 | 2.1345 | 2.147 | 2.1699 | [µmol/L]
8 | 1.2635 | 1.3861 | 1.3045 | 1.2762 | 1.3699 | 1.4594 | 1.4263 | 1.4381 | 2.0905 | 2.1147 | 2.0673 | 1.9833 | 2.0804 | 2.1256 | 2.0378 | 2.1617 | [µmol/L]
10 | 1.3471 | 1.4016 | 1.4304 | 1.3042 | 1.5049 | 1.5436 | 1.5381 | 1.4857 | 1.9733 | 2.0267 | 2.0295 | 2.0054 | 2.0199 | 2.0875 | 1.9493 | 2.0284 | [µmol/L]
12 | 1.6473 | 1.7494 | 1.7374 | 1.5904 | 1.7867 | 1.8317 | 1.7924 | 1.8329 | 2.1982 | 2.2455 | 2.2494 | 2.1133 | 2.2524 | 2.2662 | 2.2087 | 2.2199 | [µmol/L]
13 | 1.8719 | 1.9052 | 1.9385 | 1.8833 | 1.9156 | 1.9434 | 1.8835 | 1.9504 | 2.1116 | 2.1637 | 2.137 | 2.084 | 2.1744 | 2.2004 | 2.1392 | 2.1643 | [µmol/L]
14 | 1.8635 | 1.8252 | 1.8601 | 1.8419 | 1.8727 | 1.8139 | 1.7511 | 1.8929 | 2.1301 | 2.1894 | 2.1434 | 2.1255 | 2.189 | 2.178 | 2.132 | 2.1925 | [µmol/L]
15 | 1.7086 | 1.6775 | 1.7662 | 1.7987 | 1.7721 | 1.715 | 1.6541 | 1.8095 | 2.1161 | 2.2078 | 2.2024 | 2.1897 | 2.1746 | 2.2217 | 2.239 | 2.2624 | [µmol/L]
16 | 1.7018 | 1.633 | 1.5621 | 1.6228 | 1.7207 | 1.534 | 1.5791 | 1.7722 | 1.7408 | 1.9297 | 1.6121 | 1.7573 | 1.8457 | 1.7309 | 1.6369 | 1.8582 | [µmol/L]
17 | 1.6954 | 1.6674 | 1.6974 | 1.7659 | 1.7658 | 1.7061 | 1.6577 | 1.7736 | 1.9869 | 2.0428 | 2.0617 | 2.062 | 2.0402 | 2.3027 | 1.9513 | 2.0687 | [µmol/L]
18 | 1.7034 | 1.6428 | 1.4429 | 1.687 | 1.6941 | 1.6639 | 1.6016 | 1.8057 | 1.6487 | 1.6731 | 1.5197 | 1.4223 | 1.7987 | 1.605 | 1.6312 | 1.8113 | [µmol/L]
20 | 1.5893 | 1.4442 | 1.7357 | 1.7883 | 1.5758 | 1.801 | 1.5093 | 1.7842 | 1.932 | 1.9354 | 2.1244 | 2.102 | 1.9864 | 2.0031 | 1.8739 | 2.2103 | [µmol/L]
22 | 1.5562 | 1.5205 | 1.5774 | 1.7554 | 1.6761 | 1.5521 | 1.5337 | 1.7422 | 1.8363 | 1.8255 | 2.0542 | 2.08 | 1.9719 | 1.8417 | 1.7827 | 1.9226 | [µmol/L]
24 | 1.7802 | 1.5067 | 1.5118 | 1.8174 | 1.721 | 1.5448 | 1.4962 | 1.7665 | 1.8078 | 1.7816 | 1.948 | 2.0725 | 1.9284 | 1.9005 | 1.7131 | 1.817 | [µmol/L]
26 | 1.4618 | 1.2008 | 1.3046 | 1.5972 | 1.549 | 1.4641 | 1.492 | 1.6772 | 1.4867 | 1.5617 | 1.6544 | 1.6479 | 1.7215 | 1.5918 | 1.5814 | 1.7429 | [µmol/L]
28 | 1.6855 | 1.5933 | 1.5381 | 1.667 | 1.6929 | 1.6044 | 1.6526 | 1.8593 | 1.8218 | 1.803 | 1.8469 | 2.0055 | 1.9044 | 1.8175 | 1.7866 | 1.913 | [µmol/L]
30 | 1.5849 | 1.5136 | 1.3671 | 1.5945 | 1.6624 | 1.5588 | 1.5519 | 1.7674 | 1.7686 | 1.7748 | 1.8115 | 1.8977 | 1.8661 | 1.8548 | 1.8152 | 1.8478 | [µmol/L]
32 | 1.4865 | 1.47 | 1.3585 | 1.3755 | 1.6028 | 1.4805 | 1.498 | 1.6756 | 1.5725 | 1.5271 | 1.6347 | 1.685 | 1.6655 | 1.6444 | 1.6351 | 1.7289 | [µmol/L]
34 | 1.6966 | 1.6648 | 1.5263 | 1.6994 | 1.7898 | 1.6171 | 1.6103 | 1.8922 | 1.8153 | 1.8092 | 1.7255 | 1.7813 | 1.8313 | 1.8056 | 1.7157 | 1.8078 | [µmol/L]
36 | 1.5668 | 1.859 | 1.4605 | 1.6706 | 1.7349 | 1.603 | 1.4374 | 1.7662 | 1.6804 | 1.7861 | 1.6566 | 1.947 | 1.8946 | 1.7866 | 1.7565 | 1.8751 | [µmol/L]
38 | 1.5426 | 1.5929 | 1.4089 | 1.545 | 1.6364 | 1.5683 | 1.3722 | 1.6736 | 1.6146 | 1.6529 | 1.8053 | 1.9002 | 1.7915 | 1.6853 | 1.6209 | 1.7489 | [µmol/L]
40 | 1.4703 | 1.5457 | 1.3471 | 1.5281 | 1.5802 | 1.5419 | 1.3022 | 1.5509 | 1.5794 | 1.6393 | 1.5182 | 1.9456 | 1.7296 | 1.6279 | 1.6277 | 1.7541 | [µmol/L]
42 | 1.3451 | 1.4413 | 1.2961 | 1.4989 | 1.6578 | 1.5739 | 1.315 | 1.4444 | 1.5637 | 1.6001 | 1.5431 | 1.9692 | 1.7401 | 1.6977 | 1.6255 | 1.7598 | [µmol/L]
44 | 1.2009 | 1.2448 | 1.2716 | 1.4724 | 1.526 | 1.4258 | 1.3544 | 1.4554 | 1.5001 | 1.5566 | 1.491 | 1.9234 | 1.6789 | 1.5479 | 1.5618 | 1.6705 | [µmol/L]
46 | 1.1053 | 1.2534 | 1.3337 | 1.3984 | 1.5747 | 1.4696 | 1.4971 | 1.7611 | 1.6687 | 1.6186 | 1.5326 | 1.9254 | 1.6938 | 1.5502 | 1.5876 | 1.7254 | [µmol/L]
48 | 0.99319 | 1.2526 | 1.4211 | 1.3947 | 1.5478 | 1.4288 | 1.3596 | 1.6497 | 1.4344 | 1.5744 | 1.4591 | 1.8496 | 1.6631 | 1.5334 | 1.5302 | 1.7296 | [µmol/L]
50 | 1.5991 | 1.2709 | 1.2588 | 1.3897 | 1.4242 | 1.3885 | 1.4165 | 1.887 | 1.4402 | 1.4821 | 1.3424 | 1.8757 | 1.5038 | 1.4643 | 1.4785 | 1.7249 | [µmol/L]
0.033229 | M1 s: 0.10538; M3 s: Mean STD
LOD | M1 s: LOQ; M3 s: PO4
PO4 | M1 s: PO4; M3 s: 0.016

## Ammonium
Day | M1 s | M2 s | M3 s | M4 s | M5 s | M6 s | M7 s | M8 s | M1 b | M2 b | M3 b | M4 b | M5 b | M6 b | M7 b | M8 b
1 | 5.8444e-05 | 0.46507 | 0.35814 | 0 | 0.059379 | 0 | 4.389 | 0.058648 | 7.7532 | 6.1699 | 5.5602 | 3.1666 | 4.1598 | 4.672 | 5.0767 | 4.7241 | [µmol/L]
2 | 1.7022 | 0.87358 | 0.62292 | 1.1585 | 0.96397 | 0.8301 | 0.62248 | 0.54397 | 3.5514 | 4.3601 | 4.1538 | 3.6094 | 3.0885 | 3.6961 | 3.823 | 4.3181 | [µmol/L]
3 | 1.0481 | 1.3078 | 0.7479 | 0.50128 | 0.48348 | 0.58536 | 0 | 0.36542 | 3.4342 | 3.5366 | 3.175 | 2.9646 | 2.7077 | 3.4508 | 2.9436 | 2.7656 | [µmol/L]
4 | 0.83782 | 0 | 1.0678 | 1.1037 | 0.33919 | 0 | 0 | 0 | 3.1295 | 2.6796 | 2.9007 | 3.0021 | 2.6532 | 2.7198 | 2.2481 | 2.3214 | [µmol/L]
6 | 0.082908 | 0.24283 | 0.71399 | 1.2986 | 0.1446 | 0.24345 | 1.2098 | 1.4755 | 2.3916 | 1.4963 | 2.539 | 3.5406 | 2.1176 | 2.1581 | 1.2098 | 1.4755 | [µmol/L]
8 | 0.9061 | 0.61578 | 0.94809 | 1.0244 | 0.7295 | 1.2022 | 0.98809 | 0.72862 | 2.7859 | 2.4491 | 2.6308 | 3.6852 | 2.1666 | 2.674 | 1.7308 | 2.101 | [µmol/L]
10 | 1.2622 | 0.78598 | 1.8212 | 1.1076 | 1.4294 | 1.3982 | 1.5024 | 0.92462 | 2.9216 | 2.5061 | 3.0499 | 4.2846 | 2.7855 | 3.2057 | 2.0657 | 2.5707 | [µmol/L]
12 | 0.83767 | 0.47033 | 1.6579 | 1.0092 | 1.0932 | 1.1427 | 0.70262 | 1.3844 | 1.8898 | 2.2662 | 2.6295 | 2.1413 | 1.7244 | 2.4565 | 2.0683 | 1.8555 | [µmol/L]
13 | 0.32794 | 0.49997 | 1.6637 | 0.66478 | 0.31882 | 1.5427 | 1.2602 | 0.40039 | 2.2681 | 2.5242 | 2.7488 | 2.5976 | 1.7654 | 2.7208 | 2.1644 | 1.9532 | [µmol/L]
14 | 0.40417 | 0.42024 | 1.0759 | 0.48243 | 0.23097 | 1.0992 | 0.26465 | 0.28048 | 2.196 | 2.8278 | 2.6687 | 3.1961 | 2.1364 | 2.7223 | 2.2657 | 2.2684 | [µmol/L]
15 | 0.1101 | 0.094791 | 0.79145 | 0.50919 | 0.069881 | 0.19865 | 0.035816 | 4.4882e-05 | 2.3788 | 2.9581 | 2.7317 | 3.5265 | 2.4102 | 2.989 | 2.4139 | 2.2842 | [µmol/L]
16 | 0.0085548 | -5.5551e-05 | 0.096603 | 0 | 0.0079438 | 0.22179 | 0 | -2.7775e-05 | 0.0068605 | 0.85762 | 0.077688 | 1.0142 | 0.12732 | 0.21245 | 0 | 0.20837 | [µmol/L]
17 | 0.18667 | 0.11747 | 0.84776 | 0.38305 | 0.60487 | 0.50902 | 0.55948 | 0.073933 | 1.109 | 1.979 | 1.5794 | 2.3356 | 0.82837 | 1.8837 | 0.69214 | 0.8722 | [µmol/L]
18 | 0.0077575 | 0.0232 | 0.086899 | 0.08196 | 0.062831 | -2.4092e-05 | -2.4092e-05 | 0 | -4.8183e-05 | 0.12776 | 0.19596 | 0.20459 | 0.10714 | 0.21487 | 0.027392 | 2.4092e-05 | [µmol/L]
20 | -9.1512e-05 | -6.8634e-05 | -6.8634e-05 | -9.1512e-05 | -9.1512e-05 | 0.22526 | -6.8634e-05 | -4.5756e-05 | -6.8634e-05 | -6.8634e-05 | 0.018234 | 0.76173 | -6.8634e-05 | -9.1512e-05 | -6.8634e-05 | 0.22533 | [µmol/L]
22 | 0.016023 | 0.017721 | 0.061956 | 0.077979 | 0.013222 | 0 | 0.030737 | 0 | 0 | 0.11654 | 0.3938 | 2.6315 | 0 | 0.17239 | 0 | 0 | [µmol/L]
24 | 3.7869 | 0.040336 | 0.035387 | 0.36439 | 0.0017656 | 0.023774 | 0.029344 | -7.4605e-05 | 0.24152 | 0.59 | 0.93945 | 2.8734 | 0.31003 | 1.0525 | 0.17351 | 2.4868e-05 | [µmol/L]
26 | 0 | 0 | 0 | -4.8351e-05 | 0 | -9.6702e-05 | -4.8351e-05 | -4.8351e-05 | 0 | 0 | -0.00012088 | 0.32893 | 0 | -2.4176e-05 | -2.4176e-05 | -2.4176e-05 | [µmol/L]
28 | 0.069961 | -2.3461e-05 | 0.064236 | 0.038593 | 0.065081 | 0.030194 | -2.3461e-05 | 0.03003 | 0.69151 | 0.62439 | 1.4598 | 2.2992 | 0.57421 | 1.0853 | 0.52205 | 0.51745 | [µmol/L]
30 | 0.15594 | 0.18084 | 0.28508 | 0.19393 | 0.17641 | 0.25497 | 0.22104 | 0.24173 | 0.31853 | 0.59209 | 1.0713 | 1.1766 | 0.27017 | 0.16545 | 0.31502 | 0.1765 | [µmol/L]
32 | 0.024171 | 0.015491 | 0.27356 | 0.0063441 | 0.26943 | -4.9179e-05 | 0.05476 | 0.27425 | 0.00017213 | -0.0093931 | 0.75057 | 0.25996 | 7.3768e-05 | 0.0011557 | 0.0058523 | -4.9179e-05 | [µmol/L]
34 | 0.38788 | 0.27446 | 0.27676 | 0.26174 | 0.79558 | 0.25185 | 0.18763 | 0.23946 | 0.18684 | 0.2099 | 0.35743 | 0.97561 | 0.34584 | 0.70228 | 0.15704 | 0.2475 | [µmol/L]
36 | 0.1403 | 0.13109 | 0 | 0.13906 | 0.00018791 | 0 | 0 | 0 | 0 | 0.081667 | 0.013342 | 0.95348 | 0.034727 | 0.13323 | 0.016499 | 0.01492 | [µmol/L]
38 | 0.18508 | 0.11223 | 0.084625 | 0.14751 | 0.095961 | 0.13989 | 0.10993 | 0.12047 | 0.11551 | 0.14836 | 0.38465 | 0.83297 | 0.1026 | 0.1324 | 0.15035 | 0.24458 | [µmol/L]
40 | 0.24711 | 0.16656 | 0.13703 | 0.18555 | 0.098953 | 0.10911 | 0.095601 | 0.10487 | 0.16719 | 0.098403 | 0.10047 | 1.0708 | 0.10031 | 0.13747 | 0.40217 | 0.1293 | [µmol/L]
42 | 0.12023 | 0.10326 | 0.054155 | 0.23245 | 0.10099 | 0.10374 | 0.081272 | 0.062586 | 0.15715 | 0.067475 | 0.11767 | 1.663 | 0.098663 | 0.42756 | 0.62324 | 0.18456 | [µmol/L]
44 | 0.36796 | 0.38107 | 0.32314 | 0.67833 | 0.36724 | 0.29128 | 0.36796 | 0.36512 | 0.36776 | 0.42004 | 0.34552 | 2.1334 | 0.36809 | 0.3368 | 0.89475 | 0.37519 | [µmol/L]
46 | 0.27203 | 0.15594 | 0.24641 | 0.21414 | 0.18072 | 0.16386 | 0.34128 | 0.31284 | 1.132 | 0.76493 | 0.32103 | 1.8383 | 0.40386 | 0.23982 | 1.0675 | 0.56887 | [µmol/L]
48 | 0.66598 | 0.62894 | 0.64112 | 1.1688 | 0.63883 | 0.77464 | 0.64301 | 0.65639 | 1.0668 | 1.1302 | 0.76408 | 2.1208 | 0.85972 | 0.59878 | 1.2438 | 1.1281 | [µmol/L]
50 | 0.24755 | 0.19841 | 0.085141 | 0.99682 | 0.13766 | 0.10695 | 0.11721 | 0.12282 | 0.71854 | 0.56554 | 0.16805 | 2.5592 | 0.13009 | 0.23421 | 0.88561 | 0.70968 | [µmol/L]
0.06265 | M1 s: 0.19594; M3 s: Mean STD
LOD | M1 s: LOQ; M3 s: NH4
NH4 | M1 s: NH4; M3 s: 0.027

## Deep water
Date | 2017-03-10 | T13
| NO3+NO2 | SIO2 | NO2 | PO4 | NH3 | NO3
Station 1 | -0.020338 | 17.4371 | 0.040018 | 2.5583 | 0.2536 | -0.060357
Station 3 | 3.9593 | 19.5565 | 2.8839 | 2.4924 | 0.30236 | 1.0754

## Pacific
surface layer | [7 empty] | bottom layer
Day | NO3+NO2 | SIO2 | NO2 | PO4 | NH3 | NO3 |  | Day | NO3+NO2 | SIO2 | NO2 | PO4 | NH3 | NO3
1 | 11.5071 | 10.9509 | 0.93364 | 2.1803 | 5.9311 | 10.5735 | [µmol/L] | 1 | 11.6327 | 11.0797 | 0.94723 | 2.1907 | 5.7296 | 10.6855 | [µmol/L]
2 | 6.9084 | 7.3948 | 0.88707 | 1.5981 | 2.7664 | 6.0214 | [µmol/L] | 2 | 13.8232 | 10.188 | 1.3606 | 2.2172 | 5.1789 | 12.4626 | [µmol/L]
3 | 9.0266 | 10.3537 | 1.2024 | 1.9078 | 2.6131 | 7.8242 | [µmol/L] | 3 | 11.1481 | 13.1339 | 2.5671 | 2.4909 | 4.7571 | 4.7571 | [µmol/L]
4 | 5.3382 | 11.2549 | 1.7056 | 1.9928 | 3.5837 | 3.6326 | [µmol/L] | 4 | 0.30281 | 16.2225 | 0 | 3.2416 | 12.1122 | 0.35783 | [µmol/L]
6 | 6.7356 | 10.1183 | 1.1138 | 1.7261 | 1.7595 | 5.6218 | [µmol/L] | 6 | 10.4569 | 15.1655 | 0.65114 | 2.5409 | 2.0649 | 9.8058 | [µmol/L]
8 | 8.3797 | 12.8116 | 0.54778 | 2.2856 | 1.5688 | 7.8319 | [µmol/L] | 8 | 8.6427 | 15.2267 | 0.25021 | 2.644 | 1.9017 | 8.3925 | [µmol/L]
10 | 6.752 | 11.004 | 1.016 | 2.8827 | 3.044 | 5.736 | [µmol/L] | 10 | 8.3258 | 13.6903 | 0.79492 | 2.9105 | 3.3013 | 7.5309 | [µmol/L]
12 | 4.5498 | 16.0189 | 0.54543 | 2.89 | 2.4354 | 4.0044 | [µmol/L] | 12 | 0.083701 | 22.4637 | 0.090086 | 3.4951 | 6.5266 | -0.0063852 | [µmol/L]
13 | 6.7382 | 11.1961 | 0.71214 | 2.2043 | 2.4545 | 6.0261 | [µmol/L] | 13 | 13.8876 | 7.3354 | 1.3648 | 1.9671 | 1.9617 | 12.5227 | [µmol/L]
14 | 9.3967 | 7.4153 | 1.0322 | 1.7375 | 2.715 | 8.3645 | [µmol/L] | 14 | 16.3707 | 9.5574 | 4.4489 | 2.3366 | 4.0942 | 11.9218 | [µmol/L]
15 | 5.6948 | 4.8342 | 0.87904 | 1.5898 | 1.1416 | 4.8158 | [µmol/L] | 15 | 8.7251 | 13.3592 | 1.9353 | 2.5092 | 4.7562 | 6.7898 | [µmol/L]
16 | 2.6531 | 7.589 | 0.7862 | 1.7814 | 1.0096 | 1.8669 | [µmol/L] | 16 | 4.6519 | 11.8673 | 1.2603 | 2.0781 | 0.45435 | 3.3916 | [µmol/L]
17 | 5.6576 | 6.9358 | 0.75923 | 1.6594 | 1.3347 | 4.8984 | [µmol/L] | 17 | 9.4051 | 12.2351 | 1.1612 | 2.1764 | 1.6025 | 8.2439 | [µmol/L]
18 | 2.8257 | 8.8554 | 0.40857 | 1.6162 | 0.60121 | 2.4171 | [µmol/L] | 18 | 5.2072 | 13.3805 | 0.37071 | 1.4399 | 0.16833 | 4.8364 | [µmol/L]
20 | 7.1605 | 6.5235 | 0.54444 | 1.6043 | 0.020247 | 6.6161 | [µmol/L] | 20 | 6.1935 | 16.2213 | 1.7942 | 2.7122 | 1.5815 | 4.3994 | [µmol/L]
22 | 12.4661 | 8.9504 | 1.2416 | 2.2032 | 3.2829 | 11.2245 | [µmol/L] | 22 | 13.9444 | 7.9339 | 1.3958 | 2.0692 | 3.5676 | 12.5486 | [µmol/L]
24 | 4.9356 | 4.7014 | 0.97005 | 1.5199 | 1.5006 | 3.9655 | [µmol/L] | 24 | 10.4095 | 9.334 | 1.8756 | 2.2594 | 4.6382 | 8.5339 | [µmol/L]
26 | 8.1131 | 6.9291 | 1.0377 | 1.6797 | 4.4648 | 7.0754 | [µmol/L] | 26 | 10.6328 | 12.6816 | 1.7524 | 2.0987 | 1.3481 | 8.8804 | [µmol/L]
28 | 10.8152 | 8.5738 | 2.1587 | 2.2901 | 6.391 | 8.6566 | [µmol/L] | 28 | 8.8503 | 13.0091 | 3.1667 | 2.5584 | 7.9738 | 5.6836 | [µmol/L]
30 | 15.4204 | 7.7207 | 1.6016 | 1.4368 | 1.3445 | 13.8189 | [µmol/L] | 30 | 18.526 | 10.1831 | 2.3534 | 1.9563 | 1.6396 | 16.1726 | [µmol/L]
32 | 15.5975 | 11.3803 | 1.7878 | 1.6479 | 0.11377 | 13.8097 | [µmol/L] | 32 | 17.3815 | 12.4416 | 1.9158 | 1.9384 | 0.27855 | 15.4657 | [µmol/L]
34 | 16.5098 | 12.3358 | 1.1358 | 1.9773 | 0.59084 | 15.374 | [µmol/L] | 34 | 20.9455 | 15.3231 | 1.0929 | 2.2426 | 0.88799 | 19.8526 | [µmol/L]
36 | 12.6314 | 15.1415 | 0.69748 | 1.7627 | 0.38304 | 11.9339 | [µmol/L] | 36 | 16.7164 | 20.5454 | 0.13939 | 2.7525 | 0.037583 | 16.577 | [µmol/L]
38 | 14.9365 | 16.1034 | 0.65717 | 2.2894 | 0.13253 | 14.2793 | [µmol/L] | 38 | 15.7046 | 17.8514 | 0.58914 | 2.5173 | 0.17366 | 15.1154 | [µmol/L]
40 | 18.678 | 11.8442 | 1.074 | 2.0389 | 0.56156 | 17.6041 | [µmol/L] | 40 | 20.5217 | 13.446 | 1.0821 | 2.1996 | 1.303 | 19.4397 | [µmol/L]
42 | 16.685 | 10.2191 | 0.92098 | 1.6256 | 0.081933 | 15.764 | [µmol/L] | 42 | 23.3157 | 14.1223 | 1.0952 | 2.1313 | 0.070594 | 22.2205 | [µmol/L]
44 | 17.016 | 8.0568 | 1.019 | 1.612 | 0.33303 | 15.997 | [µmol/L] | 44 | 22.0704 | 13.5081 | 1.6336 | 2.1596 | 1.2933 | 20.4368 | [µmol/L]
46 | 13.6647 | 10.2714 | 0.66127 | 1.8488 | -0.018261 | 13.0034 | [µmol/L] | 46 | 15.1842 | 18.6948 | 0.3292 | 2.2456 | 0.074909 | 14.855 | [µmol/L]
48 | 8.4831 | 9.2651 | 0.67824 | 1.6983 | 0.55197 | 7.8048 | [µmol/L] | 48 | 12.3497 | 15.5907 | 0.60377 | 2.3111 | 0.82605 | 11.7459 | [µmol/L]
50 | 10.0377 | 9.5707 | 0.69883 | 1.9358 | 0.1372 | 9.3389 | [µmol/L] | 50 | 16.6541 | 16.5933 | 0.68666 | 2.3705 | 0.15779 | 15.9674 | [µmol/L]

## QUALITY CONTROL
0.12306 | 0.4041 | 0.36568 | 1.152 | 0.054133 | 0.17605 | 0.033229 | 0.10538 | 0.06265 | 0.19594 | [µmol/L]
LOD | LOQ | LOD | LOQ | LOD | LOQ | LOD | LOQ | LOD | LOQ
NO3 | NO3 | Si | Si | NO2 | NO2 | PO4 | PO4 | NH4 | NH4
Uncertainty according to Nord Test
PO4 | NO3 | Si
19.54% | 8.155% | 6.809%
Mean Standard deviation in absolut Number as deviation simmilar in all runs (high and low concentration) but deviation affects small values more severely
Si | NO2 | NO3 | PO4 | NH4
0.015631 | 0.014065 | 0.032776 | 0.016 | 0.027 | [µmol/L]
For more Information please contact: Elisabeth von der Esch (eli-bb@hotmail.de or eesch@geomar.de)